
Tran-spot Light

Type：TT-60RGB

Product user manual

[image: image5.png]



Contents 

Safety Instruction ..............................................3
Function Menu...............................................4
Function Operation ...............................................5
Channel Function ............................................7
Product Dimension Drawing..............................9
Technical Parameter ....................................9
Safety Notes

Note : To ensure reasonable consistency of operation, please read this instruction carefully. Any damages caused by the non-observance of this manual or any unauthorized modification to this product are not be subject to warranty .

1. This product belongs to high temperature products. Do not touch the lamp body when working, carefully scalds!

2. Maintain a 50CM space at the back of the lamp body for dissipate heat.

3. When installing/replacing the lamp tube, turn off the lamp power! 
4. This lamp is used for indoor lighting, not waterproof ! When lamp works, lamp tube at high temperature.
5. Make sure the voltage and frequency of power supply match the power require of this devise.          
6. Please do not operate the equipment in the condition of wire damage or wear.

7. Do not remove any part of the equipment during the use of lamps.

8.Any unauthorized modification to this product are not be subject to warranty .

Function Menu
	
	Address 

Setting 
	001-512
	

	
	
	
	
	
	DIMX
	
	5CH/8CH
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	Red
	0-255  Brightness0-100%

	
	
	
	
	
	
	Green
	0-255  Brightness0-100%

	
	
	
	
	
	Blue
	0-255  Brightness0-100%

	
	
	
	
	
	White
	0-255  Brightness0-100%

	
	
	
	
	
	Strobe
	0-9 No Function

	
	
	
	
	
	10-99  Strobe pulse (from slow to fast)）

	Menu
	
	
	
	
	
	Manuual Test
	
	
	100-109 No Function

	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	110-179Strobe pulse (from slow to fast)

	
	
	Running Mode
	
	
	
	
	
	180-189 No Function

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	190-255Strobe Random (from slow to fast)

	
	
	
	
	
	
	
	

	
	
	
	
	 Auto Program
	
	96-105 Auto 001

106-115 Auto002

116-125 Auto003

126-135 Auto004

136-145 Auto005

146-155 Auto006

156-165 Auto007
166-175 Auto008
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	Sound
	
	176-185 Sound1

186-195 Sound2
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	Screen Reverse
	
	Yes/No
	
	

	
	
	
	
	Lamp Light Set
	
	0-255
	
	

	
	
	Advanced Setting
	
	Language Setting
	
	CN/EN
	

	
	
	
	
	
	
	
	

	
	
	
	
	Sound Sensitivity
	
	0-100
	

	
	
	
	
	
	
	
	

	
	
	
	
	Dimmer Speed
	
	Fast/Slow
	

	
	
	
	
	
	
	
	

	
	
	
	
	Dimmer Curve
	
	LNR Linear Dimmer
	

	
	
	
	
	
	
	
	SIN
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	L1S
	

	
	
	
	
	
	
	L2S
	

	
	
	
	
	
	
	
	

	
	
	
	
	System 

Information
	V 2.1
	

	
	
	
	
	
	
	
	


Function Operation

[image: image1.png]


Keys diagram
2.1 built-in program Automatic function
1. Select the working mode menu. 
2. Select automatic mode. 
3.Choose one of eight programs.
4. Setting program speed.
2.2 manual mode function
The manual mode function is consistent with the 8CH channel but in manual mode DMX address is not working in that condition.The operator only needs to operate according to the 8CH channel.

2.3 Sound control function
1. Select the working mode menu.
2. Select automatic mode. Because sound control is based on the automatic program, so you need to choose the automatic program before you turn on the sound control .
3.Choose one of two programs .
4. Select the working mode menu.
5. Select sound control mode.
6. Set the sound control sensitivity. From 0 to 255 sound control will  more and more sensitive 


Channel Function 
5CH DMX general function

1. Select the working mode menu.

2. Select DMX mode.

3. Set to 5 channel mode.

4. Exit the working mode menu, select the DMX menu, and set the DMX menu address.The DMX address can be set to 001.

	CH
	Value
	function

	1
	0-255
	Dimmer 0-100％

	2
	0-255
	Red 0-100％

	3
	0-255
	Green 0-100％

	4
	0-255
	Blue 0-100％

	5
	0-255
	White 0-100％


8CH DMX general function

1. Select the working mode menu.

2. Select DMX mode.

3. Set to 8 channel mode.

4. Exit the working mode menu, select the DMX menu, and set the DMX menu address.

The DMX address can be set to 001.

	CH
	from
	to
	function

	1
	0
	255
	Dimmer 0-100％

	2
	0
	255
	Red 0-100％

	3
	0
	255
	Green 0-100％

	4
	0
	255
	Blue 0-100％

	5
	0
	255
	White 0-100％

	6
	0
	9
	No function

	
	10
	99
	Strobe in the line (from slow to fast)

	
	100
	109
	No function

	
	110
	179
	Strobe pulse (from slow to fast)

	
	180
	189
	No function

	
	190
	255
	Strobe Random (from slow to fast)

	7
	0
	5
	No function

	
	6
	15
	RED 100％/GREEN UP /BLUE 0％

	
	16
	25
	RED DOWN/ GREEN 100％/ BLUE 0％

	
	26
	35
	RED 0％GREEN 100％BLUE  UP 

	
	36
	45
	RED 0％GREEN DOWN /BLUE 100％

	
	46
	55
	RED UP /GREEN 0％/ BLUE 100％

	
	56
	65
	RED 100％/GREEN 0％/BLUE DOWN

	
	66
	75
	RED 100％/GREEN UP/ BLUE UP

	
	76
	85
	RED DOWN / GREEN DOWN/ BLUE 100％

	
	86
	95
	RED 100％/ GREEN 100％BLUE 100％WHITE 100％

	
	96
	105
	Auto 1

	
	106
	115
	Auto 2

	
	116
	125
	Auto 3

	
	126
	135
	Auto 4

	
	136
	145
	Auto 5

	
	146
	155
	Auto 6

	
	156
	165
	          Auto 7

	
	166
	175
	          Auto 8

	
	176
	185
	         Sound 01

	
	186
	195
	Sound 02

	
	195
	254
	No  function

	
	255
	255
	Keep 5 seconds the system reset

	8
	0
	255
	Sound Sensitivity /Auto Speed( from slow to fast）


Product Dimension Drawing
As below ：

[image: image2.png]


[image: image3.png]


[image: image4.png]



Technical Parameter Diagram
Technical Parameter Diagram ：
	Item 
	Technical Parameter

	Work voltage
	 110 ~ 240V50/60HZ

	Power consumption 
	80W

	Light source
	 1×60W +6×1W RGBW

	DMX channel 
	 5CH /8CH

	Control Mode 
	Auto-run , Sound control ,DMX control

	Color temperature
	2200K+RGB

	Dimension 
	236×175×130MM

	Wight
	 2.7Kg

	Packing
	Carton/6pcs


3
9

